## Sites Data
Site ID | District | Site Type | Power Status | Longitude | Latitude | Tech Name | Tech Number | Remarks | MC
415-12-301 | Madina | GF | SCECO | 39.1642 | 24.2094 | Ahmed Kassab | 568121546 & 0500017058 ( 2055 ) |  | Madina
MW-069 | Madina | GF | SOLAR | 41.9503 | 24.11944 | Ahmed Kassab | 568121546 & 0500017058 ( 2055 ) |  | Madina
418-11-102R11 | Madina | GF | SG | 24.66978798744 | 39.78818706853 | Haitham | 546924927 |  | Madina
BM09 | Madina | GF | SG | 25 06619039554 | 40 79332533403 | Haitham | 546924927 |  | Madina
FBM015 | Madina | GF | SCECO-Standby | 24.8816 | 40.4984 | Hassan | 558805370 & 0539193273 ( 2120 ) | Transferred to Standby at 2016 | Madina
231-14-000 | Madina | GF | Dual_Generator | NA | NA | Hany | 0503837060 ( 6000 ) | PAT 22-12-2014 | Madina

## Battery Data
Site ID | Battery Status | Battery Backup time | Vandalism Status | Capex Ref | Remarks
415-12-301 | Weak | 30 Min | NA | 25478
MW-069 | Good | 12 Hrs | NA | NA
418-11-102R11 | Medium | 2 Hrs | NA | 54879
BM09 | Stolen | Zero | Police Report Submitted and waiting Delivery | NA
FBM015 | Good | 3 Hrs | NA | NA | New installed 15.Jan 2017
231-14-000 | Weak | 1 Hr | NA | 54798

## Generator Data
Site ID | Generator Status | Generator type | ATS Status | Capex Ref
418-11-102R11 | Weak | Perkins | Not Working | 24578
BM09 | Good | Dutez | Working
231-14-000 | has Warranty issue | Perkins | Not Working | 54789

## Searching Form
Search Form | Search Form |  | other Suggested Search Form | Search Form
| Site ID |  |  | Site ID | Searching For | Check List
District :
Site Type :
Vandalism Status if Stolen
Capex Ref ( if Capex )
Capex Ref ( if Capex )
ATS Status :
| Sites Data Base |  |  |  |  | Contact No.
| Site ID : | District : |  |  |  | Coordinates
Result Form | Power Type : | Site Type : |  |  |  | Power Type :
| Battery Status : | Vandalism Status if Stolen |  |  |  | Battery Status :
| Battery Backup time | Capex Ref ( if Capex ) |  |  |  | Battery Backup time
| Generator Status ( if Generator ) | Capex Ref ( if Capex ) |  |  |  | Generator Status ( if Generator )
| Genertor Type : | ATS Status : |  |  |  | Genertor Type :
| Tech.Name | Contact No. |  |  |  | Tech.Name
| Lattitude | Langtitude : |  |  |  | Remarks
Remarks