## Socomec
ATS Socomec Change.Over 3P
No# | Description | Enclouser Type | Selling Price -SAR | Drawing | Technical Submittal | B.O.M
1 | ATyS 125A 3P Chang .over | Local |  | DWG-ATyS 125 A-3P | TS-ATyS 125 A-3P | B.O.M-ATyS 125 A-3P
2 | ATyS 160A 3P Chang .over | Local |  | DWG-ATyS 160 A-3P | TS-ATyS 160 A-3P | B.O.M-ATyS 160 A-3P
3 | ATyS 200A 3P Chang .over | Local |  | DWG-ATyS 200 A-3P | TS-ATyS 200 A-3P | B.O.M-ATyS 200 A-3P
4 | ATyS 250A 3P Chang .over | Local |  | DWG-ATyS 250 A-3P | TS-ATyS 250 A-3P | B.O.M-ATyS 250 A-3P
5 | ATyS 400A 3P Chang .over | Local |  | DWG-ATyS 400 A-3P | TS-ATyS 400 A-3P | B.O.M-ATyS 400 A-3P
6 | ATyS 630A 3P Chang .over | Local |  | DWG-ATyS 630 A-3P | TS-ATyS 630 A-3P | B.O.M-ATyS 630 A-3P
7 | ATyS 800A 3P Chang .over | Local |  | DWG-ATyS 800 A-3P | TS-ATyS 800 A-3P | B.O.M-ATyS 800 A-3P
8 | ATyS 1000A 3P Chang .over | Local |  | DWG-ATyS 1000 A-3P | TS-ATyS 1000 A-3P | B.O.M-ATyS 1000 A-3P
9 | ATyS 1250A 3P Chang .over | Local |  | DWG-ATyS 1250 A-3P | TS-ATyS 1250 A-3P | B.O.M-ATyS 1250 A-3P
10 | ATyS 1600A 3P Chang .over | Local |  | DWG-ATyS 1600 A-3P | TS-ATyS 1600 A-3P | B.O.M-ATyS 1600 A-3P
11 | ATyS 2000A 3P Chang .over | Local |  | DWG-ATyS 2000 A-3P | TS-ATyS 2000 A-3P | B.O.M-ATyS 2000 A-3P
12 | ATyS 2500A 3P Chang .over | Local |  | DWG-ATyS 2500 A-3P | TS-ATyS 2500 A-3P | B.O.M-ATyS 2500 A-3P
13 | ATyS 3200A 3P Chang .over | Local |  | DWG-ATyS 3200 A-3P | TS-ATyS 3200 A-3P | B.O.M-ATyS 3200 A-3P
ATS Socomec Change.Over 4P
No# | Description | Enclouser Type | Selling Price -SAR | Drawing | Technical Submittal | Technical Submittal
1 | ATyS 100A 4P Chang .over | Local |  | DWG-ATyS 100 A-3P | TS-ATyS 100 A-3P
2 | ATyS 125A 4P Chang .over | Local |  | DWG-ATyS 125 A-3P | TS-ATyS 125 A-3P
3 | ATyS 160A 4P Chang .over | Local |  | DWG-ATyS 160 A-3P | TS-ATyS 160 A-3P
4 | ATyS 200A 4P Chang .over | Local |  | DWG-ATyS 200 A-3P | TS-ATyS 200 A-3P
5 | ATyS 250A 4P Chang .over | Local |  | DWG-ATyS 250 A-3P | TS-ATyS 250 A-3P
6 | ATyS 400A 4P Chang .over | Local |  | DWG-ATyS 400 A-3P | TS-ATyS 400 A-3P
7 | ATyS 630A 4P Chang .over | Local |  | DWG-ATyS 630 A-3P | TS-ATyS 630 A-3P
8 | ATyS 800A 4P Chang .over | Local |  | DWG-ATyS 800 A-3P | TS-ATyS 800 A-3P
9 | ATyS 1000A 4P Chang .over | Local |  | DWG-ATyS 1000 A-3P | TS-ATyS 1000 A-3P
10 | ATyS 1250A 4P Chang .over | Local |  | DWG-ATyS 1250 A-3P | TS-ATyS 1250 A-3P
11 | ATyS 1600A 4P Chang .over | Local |  | DWG-ATyS 1600 A-3P | TS-ATyS 1600 A-3P
12 | ATyS 2000A 4P Chang .over | Local |  | DWG-ATyS 2000 A-3P | TS-ATyS 2000 A-3P
13 | ATyS 2500A 4P Chang .over | Local |  | DWG-ATyS 2500 A-3P | TS-ATyS 2500 A-3P
14 | ATyS 3200A 4P Chang .over | Local |  | DWG-ATyS 3200 A-3P | TS-ATyS 3200 A-3P
BACK

## Brekares
|  | Enclouser type | Selling Price
1 | ATys 125A 3P Chang .over | Local |  | dwg
2 | ATys 160A 3P Chang .over | Local
3 | ATys 200A 3P Chang .over | Local
4 | ATys 250A 3P Chang .over | Local
5 | ATys 400A 3P Chang .over | Local
6 | ATys 630A 3P Chang .over | Local
7 | ATys 800A 3P Chang .over | Local
8 | ATys 1000A 3P Chang .over | Local
9 | ATys 1250A 3P Chang .over | Local
10 | ATys 1600A 3P Chang .over | Local
11 | ATys 2000A 3P Chang .over | Local
12 | ATys 2500A 3P Chang .over | Local
13 | ATys 3200A 3P Chang .over | Local
14
15
16
17
18
19
20
21
22
23
24
25
26

## Sheet2
• OPEN TYPE
• CLOSE TYPE
•STANDARD
* 3P
* 4P
•SINGLE BY PASS
* 3P
* 4P
•DOUBLE BY PASS
* 3P
* 4P
•STANDARD
* 3P
* 4P
•SINGLE BY PASS
* 3P
* 4P
•DOUBLE BY PASS
* 3P
* 4P
• CONTACTOR
• BREAKERS
• CHANGE OVER

## QUOTATION
| List of Material | [11 empty] | Copper Busbar | 33 | KG
[13 empty] | EUR | 4.6 | SAR
[13 empty] | ATS 100A 4P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | 1428.0507 | 0 | 1 | 1428.0507 | 34.54%
1- | ATS 100A 4P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 980 | 0 | 1 | 980 | 23.71%
| Enclosure type: | Local |  | Wall Mounted |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1526 | 0 | 1 | 1526 | 36.91%
| Enclosure Size: | 100*80*30 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 980 |  | 980 |  | C.B.B | 200 | 0 | 1 | 200 | 4.838%
[13 empty] | TOTAL | 4134.0507 |  |  | 4134.0507
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 93234010 | ATyS d M 4*100 ELECTRICAL CTRL 230AC |  |  | 1 | Socomec |  |  | 1428.0507 |  | 1428.0507
| Cupper Busbar |  | 100A 3P+N+E |  |  | 1 |  |  |  | 200 |  | 200 | Cables + busbar
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800
|  | DSE9130 | Battery charger 12VDC 5A |  |  | 1 | DSE |  |  | 350 |  | 350
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 12VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | 3994.0507 |  | 4134.0507
[13 empty] | ATS 125A 3P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | #N/A | 0 | 1 | #N/A | #N/A
2- | ATS 125A 3P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 980 | 0 | 1 | 980 | #N/A
| Enclosure type: | Local |  | Wall Mounted |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1526 | 0 | 1 | 1526 | #N/A
| Enclosure Size: | 100*80*30 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 980 |  | 980 |  | C.B.B | 221.535 | 0 | 1 | 221.535 | #N/A
[13 empty] | TOTAL | #N/A |  |  | #N/A
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95233012 | ATyS 3*125 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | #N/A |  | #N/A | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 125A 3P+N+E 1bar(20*5)/PH |  |  | 1 |  |  |  | 221.535 |  | 221.535 | 4.895 | 161.535 | 60 | 0 | 221.535
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 1bar
|  | DSE9130 | Battery charger 12VDC 5A |  |  | 1 | DSE |  |  | 350 |  | 350
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 12VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | #N/A |  | #N/A
[13 empty] | ATS 160A 3P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | 2092.0463 | 0 | 1 | 2092.0463 | 43.41%
3- | ATS 160A 3P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 980 | 0 | 1 | 980 | 20.33%
| Enclosure type: | Local |  | Wall Mounted |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1526 | 0 | 1 | 1526 | 31.66%
| Enclosure Size: | 100*80*30 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 980 |  | 980 |  | C.B.B | 221.535 | 0 | 1 | 221.535 | 4.597%
[13 empty] | TOTAL | 4819.5813 |  |  | 4819.5813
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95233016 | ATyS 3*160 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | 2092.0463 |  | 2092.0463 | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 160A 3P+N+E 1bar(20*5)/PH |  |  | 1 |  |  |  | 221.535 |  | 221.535 | 4.895 | 161.535 | 60 | 0 | 221.535
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 1bar
|  | DSE9130 | Battery charger 12VDC 5A |  |  | 1 | DSE |  |  | 350 |  | 350
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 12VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | 4679.5813 |  | 4819.5813
[13 empty] | ATS 200A 3P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | #N/A | 0 | 1 | #N/A | #N/A
4- | ATS 200A 3P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 980 | 0 | 1 | 980 | #N/A
| Enclosure type: | Local |  | Wall Mounted |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1526 | 0 | 1 | 1526 | #N/A
| Enclosure Size: | 100*80*30 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 980 |  | 980 |  | C.B.B | 262.026 | 0 | 1 | 262.026 | #N/A
[13 empty] | TOTAL | #N/A |  |  | #N/A
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95233020 | ATyS 3*200 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | #N/A |  | #N/A | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 200A 3P+N+E 1bar(25*5)/PH |  |  | 1 |  |  |  | 262.026 |  | 262.026 | 6.122 | 202.026 | 60 | 0 | 262.026
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 1bar
|  | DSE9130 | Battery charger 12VDC 5A |  |  | 1 | DSE |  |  | 350 |  | 350
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 12VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | #N/A |  | #N/A
[13 empty] | ATS 250A 3P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | 2743.6447 | 0 | 1 | 2743.6447 | 49.78%
5- | ATS 250A 3P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 980 | 0 | 1 | 980 | 17.78%
| Enclosure type: | Local |  | Wall Mounted |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1526 | 0 | 1 | 1526 | 27.69%
| Enclosure Size: | 100*80*30 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 980 |  | 980 |  | C.B.B | 262.026 | 0 | 1 | 262.026 | 4.754%
[13 empty] | TOTAL | 5511.6707 |  |  | 5511.6707
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95233025 | ATyS 3*250 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | 2743.6447 |  | 2743.6447 | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 250A 3P+N+E 1bar(25*5)/PH |  |  | 1 |  |  |  | 262.026 |  | 262.026 | 6.122 | 202.026 | 60 | 0 | 262.026
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 1bar
|  | DSE9130 | Battery charger 12VDC 5A |  |  | 1 | DSE |  |  | 350 |  | 350
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 12VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | 5371.6707 |  | 5511.6707
[13 empty] | ATS 400A 3P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | 3738.2332 | 0 | 1 | 3738.2332 | 52.47%
6- | ATS 400A 3P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 1295 | 0 | 1 | 1295 | 18.18%
| Enclosure type: | Local |  | Wall Mounted |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1526 | 0 | 1 | 1526 | 21.42%
| Enclosure Size: | 120*80*30 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 1295 |  | 1295 |  | C.B.B | 564.605 | 0 | 1 | 564.605 | 7.926%
[13 empty] | TOTAL | 7123.8382 |  |  | 7123.8382
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95233040 | ATyS 3*400 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | 3738.2332 |  | 3738.2332 | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 400A 3P+N+E 1bar (30*10)mm/ph |  |  | 1 |  |  |  | 564.605 |  | 564.605 | 14.685 | 484.605 | 80 | 0 | 564.605
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 1bar
|  | DSE9255 | Battery charger 24VDC 5A |  |  | 1 | DSE |  |  | 350 |  | 350
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 24VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | 6983.8382 |  | 7123.8382
[13 empty] | ATS 630A 3P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | 4712.2147 | 0 | 1 | 4712.2147 | 52.92%
7- | ATS 630A 3P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 1940 | 0 | 1 | 1940 | 21.79%
| Enclosure type: | Local |  | Floor Standing |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1526 | 0 | 1 | 1526 | 17.14%
| Enclosure Size: | 140*80*40 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 1940 |  | 1940 |  | C.B.B | 726.14 | 0 | 1 | 726.14 | 8.155%
[13 empty] | TOTAL | 8904.3547 |  |  | 8904.3547
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95233063 | ATyS 3*630 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | 4712.2147 |  | 4712.2147 | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 630A 3P+N+E 1bar (40*10)mm/ph |  |  | 1 |  |  |  | 726.14 |  | 726.14 | 19.58 | 646.14 | 80 | 0 | 726.14
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 1bar
|  | DSE9255 | Battery charger 24VDC 5A |  |  | 1 | DSE |  |  | 350 |  | 350
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 24VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | 8764.3547 |  | 8904.3547
[13 empty] | ATS 800A 3P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | 6742.5504 | 0 | 1 | 6742.5504 | 53.22%
8- | ATS 800A 3P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 2940 | 0 | 1 | 2940 | 23.2%
| Enclosure type: | Local |  | Floor Standing |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1526 | 0 | 1 | 1526 | 12.04%
| Enclosure Size: | 160*120*50 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 2940 |  | 2940 |  | C.B.B | 1461.5125 | 0 | 1 | 1461.5125 | 11.54%
[13 empty] | TOTAL | 12670.0629 |  |  | 12670.0629
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95233080 | ATyS 3*800 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | 6742.5504 |  | 6742.5504 | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 800A 3P+N+E 1bar (50*10)mm/ph |  |  | 1 |  |  |  | 1461.5125 |  | 1461.5125 | 36.7125 | 1211.5125 | 250 | 0 | 1461.5125
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 1.5 bar
|  | DSE9255 | Battery charger 24VDC 5A |  |  | 1 | DSE |  |  | 350 |  | 350
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 24VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | 12530.0629 |  | 12670.0629
[13 empty] | ATS 1000A 3P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | 7099.2049 | 0 | 1 | 7099.2049 | 51%
9- | ATS 1000A 3P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 3140 | 0 | 1 | 3140 | 22.56%
| Enclosure type: | Local |  | Floor Standing |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1976 | 0 | 1 | 1976 | 14.2%
| Enclosure Size: | 160*120*60 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 3140 |  | 3140 |  | C.B.B | 1703.815 | 0 | 1 | 1703.815 | 12.24%
[13 empty] | TOTAL | 13919.0199 |  |  | 13919.0199
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95233100 | ATyS 3*1000 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | 7099.2049 |  | 7099.2049 | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 1000A 3P+N+E 1bar (60*10)mm/ph |  |  | 1 |  |  |  | 1703.815 |  | 1703.815 | 44.055 | 1453.815 | 250 | 0 | 1703.815
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 1.5 bar
|  | DSE9470 | Battery charger 24VDC 10A |  |  | 1 | DSE |  |  | 800 |  | 800
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 24VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | 13779.0199 |  | 13919.0199
[13 empty] | ATS 1250A 3P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | 8381.8499 | 0 | 1 | 8381.8499 | 48.72%
10- | ATS 1250A 3P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 3760 | 0 | 1 | 3760 | 21.86%
| Enclosure type: | Local |  | Floor Standing |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1976 | 0 | 1 | 1976 | 11.49%
| Enclosure Size: | 200*100*60 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 3760 |  | 3760 |  | C.B.B | 3084.56 | 0 | 1 | 3084.56 | 17.93%
[13 empty] | TOTAL | 17202.4099 |  |  | 17202.4099
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95233120 | ATyS 3*1250 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | 8381.8499 |  | 8381.8499 | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 1200A 3P+N+E 1bar (80*10)mm/ph |  |  | 1 |  |  |  | 3084.56 |  | 3084.56 | 78.32 | 2584.56 | 500 | 0 | 3084.56
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 2 bar
|  | DSE9470 | Battery charger 24VDC 10A |  |  | 1 | DSE |  |  | 800 |  | 800
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 24VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | 17062.4099 |  | 17202.4099
[13 empty] | ATS 1600A 3P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | 10947.1949 | 0 | 1 | 10947.1949 | 53.63%
11- | ATS 1600A 3P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 3760 | 0 | 1 | 3760 | 18.42%
| Enclosure type: | Local |  | Floor Standing |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1976 | 0 | 1 | 1976 | 9.68%
| Enclosure Size: | 200*100*60 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 3760 |  | 3760 |  | C.B.B | 3730.7 | 0 | 1 | 3730.7 | 18.28%
[13 empty] | TOTAL | 20413.8949 |  |  | 20413.8949
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95233160 | ATyS 3*1600 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | 10947.1949 |  | 10947.1949 | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 1600A 3P+N+E 1bar (100*10)mm/ph |  |  | 1 |  |  |  | 3730.7 |  | 3730.7 | 97.9 | 3230.7 | 500 | 0 | 3730.7
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 2 bar
|  | DSE9470 | Battery charger 24VDC 10A |  |  | 1 | DSE |  |  | 800 |  | 800
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 24VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | 20273.8949 |  | 20413.8949
[13 empty] | ATS 2000A 3P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | 19665.2025 | 0 | 1 | 19665.2025 | 57.67%
12- | ATS 2000A 3P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 6960 | 0 | 1 | 6960 | 20.41%
| Enclosure type: | Local |  | Floor Standing |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1976 | 0 | 1 | 1976 | 5.795%
| Enclosure Size: | 200*100*120 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 6960 |  | 6960 |  | C.B.B | 5496.05 | 0 | 1 | 5496.05 | 16.12%
[13 empty] | TOTAL | 34097.2525 |  |  | 34097.2525
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95233200 | ATyS 3*2000 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | 19665.2025 |  | 19665.2025 | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 2000A 3P+N+E 2bar (80*10)mm/ph |  |  | 1 |  |  |  | 5496.05 |  | 5496.05 | 146.85 | 4846.05 | 650 | 0 | 5496.05
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 5 bar
|  | DSE9470 | Battery charger 24VDC 10A |  |  | 1 | DSE |  |  | 800 |  | 800
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 24VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | 33957.2525 |  | 34097.2525
[13 empty] | ATS 2500A 3P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | 21530.903 | 0 | 1 | 21530.903 | 57.3%
13- | ATS 2500A 3P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 6960 | 0 | 1 | 6960 | 18.52%
| Enclosure type: | Local |  | Floor Standing |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1976 | 0 | 1 | 1976 | 5.258%
| Enclosure Size: | 200*100*120 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 6960 |  | 6960 |  | C.B.B | 7111.4 | 0 | 1 | 7111.4 | 18.92%
[13 empty] | TOTAL | 37578.303 |  |  | 37578.303
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95233250 | ATyS 3*2500 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | 21530.903 |  | 21530.903 | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 2500A 3P+N+E 2bar (80*10)mm/ph |  |  | 1 |  |  |  | 7111.4 |  | 7111.4 | 195.8 | 6461.4 | 650 | 0 | 7111.4
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 5 bar
|  | DSE9470 | Battery charger 24VDC 10A |  |  | 1 | DSE |  |  | 800 |  | 800
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 24VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | 37438.303 |  | 37578.303
[13 empty] | ATS 3200A 3P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | 25262.2488 | 0 | 1 | 25262.2488 | 58.85%
14- | ATS 3200A 3P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 6960 | 0 | 1 | 6960 | 16.21%
| Enclosure type: | Local |  | Floor Standing |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1976 | 0 | 1 | 1976 | 4.603%
| Enclosure Size: | 200*100*120 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 6960 |  | 6960 |  | C.B.B | 8726.75 | 0 | 1 | 8726.75 | 20.33%
[13 empty] | TOTAL | 42924.9988 |  |  | 42924.9988
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95233320 | ATyS 3*3200 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | 25262.2488 |  | 25262.2488 | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 3200A 3P+N+E 2bar (100*10)mm/ph |  |  | 1 |  |  |  | 8726.75 |  | 8726.75 | 244.75 | 8076.75 | 650 | 0 | 8726.75
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 5 bar
|  | DSE9470 | Battery charger 24VDC 10A |  |  | 1 | DSE |  |  | 800 |  | 800
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 24VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | 42784.9988 |  | 42924.9988
ATS 4-Poles
[13 empty] | ATS 125A 4P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | #N/A | 0 | 1 | #N/A | #N/A
1- | ATS 125A 4P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 0 | 0 | 1 | 0 | #N/A
| Enclosure type: | Local |  | Wall Mounted |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1526 | 0 | 1 | 1526 | #N/A
| Enclosure Size: | 100*80*30 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 0 |  | 0 |  | C.B.B | 231.535 | 0 | 1 | 231.535 | #N/A
[13 empty] | TOTAL | #N/A |  |  | #N/A
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95234012 | ATyS 4*125 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | #N/A |  | #N/A | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 125A 3P+N+E 1bar(20*5)/PH |  |  | 1 |  |  |  | 231.535 |  | 231.535 | 4.895 | 161.535 | 70 | 0 | 231.535
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 1bar
|  | DSE9130 | Battery charger 12VDC 5A |  |  | 1 | DSE |  |  | 350 |  | 350
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 12VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | #N/A |  | #N/A
[13 empty] | ATS 160A 4P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | #N/A | 0 | 1 | #N/A | #N/A
2- | ATS 160A 4P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 0 | 0 | 1 | 0 | #N/A
| Enclosure type: | Local |  | Wall Mounted |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1526 | 0 | 1 | 1526 | #N/A
| Enclosure Size: | 100*80*30 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 0 |  | 0 |  | C.B.B | 231.535 | 0 | 1 | 231.535 | #N/A
[13 empty] | TOTAL | #N/A |  |  | #N/A
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95234016 | ATyS 4*160 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | #N/A |  | #N/A | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 160A 3P+N+E 1bar(20*5)/PH |  |  | 1 |  |  |  | 231.535 |  | 231.535 | 4.895 | 161.535 | 70 | 0 | 231.535
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 1bar
|  | DSE9130 | Battery charger 12VDC 5A |  |  | 1 | DSE |  |  | 350 |  | 350
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 12VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | #N/A |  | #N/A
[13 empty] | ATS 200A 4P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | #N/A | 0 | 1 | #N/A | #N/A
3- | ATS 200A 4P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 0 | 0 | 1 | 0 | #N/A
| Enclosure type: | Local |  | Wall Mounted |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1526 | 0 | 1 | 1526 | #N/A
| Enclosure Size: | 100*80*30 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 0 |  | 0 |  | C.B.B | 231.535 | 0 | 1 | 231.535 | #N/A
[13 empty] | TOTAL | #N/A |  |  | #N/A
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95234020 | ATyS 4*200 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | #N/A |  | #N/A | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 200A 3P+N+E 1bar(25*5)/PH |  |  | 1 |  |  |  | 231.535 |  | 231.535 | 4.895 | 161.535 | 70 | 0 | 231.535
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 1bar
|  | DSE9130 | Battery charger 12VDC 5A |  |  | 1 | DSE |  |  | 350 |  | 350
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 12VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | #N/A |  | #N/A
[13 empty] | ATS 250A 4P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | 2567.6041 | 0 | 1 | 2567.6041 | 48.03%
4- | ATS 250A 4P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 980 | 0 | 1 | 980 | 18.33%
| Enclosure type: | Local |  | Wall Mounted |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1526 | 0 | 1 | 1526 | 28.55%
| Enclosure Size: | 100*80*30 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 980 |  | 980 |  | C.B.B | 272.026 | 0 | 1 | 272.026 | 5.089%
[13 empty] | TOTAL | 5345.6301 |  |  | 5345.6301
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95234025 | ATyS 4*250 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | 2567.6041 |  | 2567.6041 | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar | . | 250A 3P+N+E 1bar(25*5)/PH |  |  | 1 |  |  |  | 272.026 |  | 272.026 | 6.122 | 202.026 | 70 | 0 | 272.026
| Control | DSE0331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 1bar
|  | DSE9130 | DSE BATTERY CHARGER 12V/5A |  |  | 1 | DSE |  |  | 350 |  | 350
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 24VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | 5205.6301 |  | 5345.6301
[13 empty] | ATS 400A 4P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | 3508.5258 | 0 | 1 | 3508.5258 | 46.59%
5- | ATS 400A 4P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 1670 | 0 | 1 | 1670 | 22.17%
| Enclosure type: | Local |  | Wall Mounted |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1526 | 0 | 1 | 1526 | 20.26%
| Enclosure Size: | 120*100*40 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 1670 |  | 1670 |  | C.B.B | 826.9075 | 0 | 1 | 826.9075 | 10.98%
[13 empty] | TOTAL | 7531.4333 |  |  | 7531.4333
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95234040 | ATyS 4*400 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | 3508.5258 |  | 3508.5258 | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 400A 3P+N+E 1bar (30*10)mm/ph |  |  | 1 |  |  |  | 826.9075 |  | 826.9075 | 22.0275 | 726.9075 | 100 | 0 | 826.9075
| Control | DSE0331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 1.5 bar
|  | DSE9255 | DSE BATTERY CHARGER 24V/5A |  |  | 1 | DSE |  |  | 350 |  | 350
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 24VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | 7391.4333 |  | 7531.4333
[13 empty] | ATS 630A 4P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | 4419.0213 | 0 | 1 | 4419.0213 | 48.54%
6- | ATS 630A 4P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 2090 | 0 | 1 | 2090 | 22.96%
| Enclosure type: | Local |  | Floor Standing |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1526 | 0 | 1 | 1526 | 16.76%
| Enclosure Size: | 140*100*40 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 2090 |  | 2090 |  | C.B.B | 1069.21 | 0 | 1 | 1069.21 | 11.74%
[13 empty] | TOTAL | 9104.2313 |  |  | 9104.2313
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95234063 | ATyS 4*630 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | 4419.0213 |  | 4419.0213 | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 630A 3P+N+E 1bar (40*10)mm/ph |  |  | 1 |  |  |  | 1069.21 |  | 1069.21 | 29.37 | 969.21 | 100 | 0 | 1069.21
| Control | DSE0331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 1.5 bar
|  | DSE9255 | DSE BATTERY CHARGER 24V/5A |  |  | 1 | DSE |  |  | 350 |  | 350
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 24VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | 8964.2313 |  | 9104.2313
[13 empty] | ATS 800A 4P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | #N/A | 0 | 1 | #N/A | #N/A
7- | ATS 800A 4P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 3140 | 0 | 1 | 3140 | #N/A
| Enclosure type: | Local |  | Floor Standing |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1526 | 0 | 1 | 1526 | #N/A
| Enclosure Size: | 160*120*60 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 3140 |  | 3140 |  | C.B.B | 1915.35 | 0 | 1 | 1915.35 | #N/A
[13 empty] | TOTAL | #N/A |  |  | #N/A
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95234080 | ATyS 4*800 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | #N/A |  | #N/A | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 800A 3P+N+E 1bar (50*10)mm/ph |  |  | 1 |  |  |  | 1915.35 |  | 1915.35 | 48.95 | 1615.35 | 300 | 0 | 1915.35
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 2 bar
|  | DSE9255 | Battery charger 24VDC 5A |  |  | 1 | DSE |  |  | 350 |  | 350
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 24VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | #N/A |  | #N/A
[13 empty] | ATS 1000A 4P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | #N/A | 0 | 1 | #N/A | #N/A
8- | ATS 1000A 4P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 3140 | 0 | 1 | 3140 | #N/A
| Enclosure type: | Local |  | Floor Standing |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1976 | 0 | 1 | 1976 | #N/A
| Enclosure Size: | 160*120*60 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 3140 |  | 3140 |  | C.B.B | 2238.42 | 0 | 1 | 2238.42 | #N/A
[13 empty] | TOTAL | #N/A |  |  | #N/A
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95234100 | ATyS 4*1000 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | #N/A |  | #N/A | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 1000A 3P+N+E 1bar (60*10)mm/ph |  |  | 1 |  |  |  | 2238.42 |  | 2238.42 | 58.74 | 1938.42 | 300 | 0 | 2238.42
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 2 bar
|  | DSE9470 | Battery charger 24VDC 10A |  |  | 1 | DSE |  |  | 800 |  | 800
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 24VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | #N/A |  | #N/A
[13 empty] | ATS 1250A 4P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | #N/A | 0 | 1 | #N/A | #N/A
9- | ATS 1250A 4P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 4060 | 0 | 1 | 4060 | #N/A
| Enclosure type: | Local |  | Floor Standing |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1976 | 0 | 1 | 1976 | #N/A
| Enclosure Size: | 200*100*80 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 4060 |  | 4060 |  | C.B.B | 3084.56 | 0 | 1 | 3084.56 | #N/A
[13 empty] | TOTAL | #N/A |  |  | #N/A
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95234120 | ATyS 4*1250 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | #N/A |  | #N/A | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 1200A 3P+N+E 1bar (80*10)mm/ph |  |  | 1 |  |  |  | 3084.56 |  | 3084.56 | 78.32 | 2584.56 | 500 | 0 | 3084.56
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 2 bar
|  | DSE9470 | Battery charger 24VDC 10A |  |  | 1 | DSE |  |  | 800 |  | 800
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 24VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | #N/A |  | #N/A
[13 empty] | ATS 1600A 4P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | #N/A | 0 | 1 | #N/A | #N/A
10- | ATS 1600A 4P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 4060 | 0 | 1 | 4060 | #N/A
| Enclosure type: | Local |  | Floor Standing |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1976 | 0 | 1 | 1976 | #N/A
| Enclosure Size: | 200*100*80 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 4060 |  | 4060 |  | C.B.B | 3730.7 | 0 | 1 | 3730.7 | #N/A
[13 empty] | TOTAL | #N/A |  |  | #N/A
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95234160 | ATyS 4*1600 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | #N/A |  | #N/A | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 1600A 3P+N+E 1bar (100*10)mm/ph |  |  | 1 |  |  |  | 3730.7 |  | 3730.7 | 97.9 | 3230.7 | 500 | 0 | 3730.7
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 2 bar
|  | DSE9470 | Battery charger 24VDC 10A |  |  | 1 | DSE |  |  | 800 |  | 800
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 24VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | #N/A |  | #N/A
[13 empty] | ATS 2000A 4P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | #N/A | 0 | 1 | #N/A | #N/A
11- | ATS 2000A 4P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 6960 | 0 | 1 | 6960 | #N/A
| Enclosure type: | Local |  | Floor Standing |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1976 | 0 | 1 | 1976 | #N/A
| Enclosure Size: | 200*100*120 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 6960 |  | 6960 |  | C.B.B | 8553.68 | 0 | 1 | 8553.68 | #N/A
[13 empty] | TOTAL | #N/A |  |  | #N/A
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95234200 | ATyS 4*2000 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | #N/A |  | #N/A | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 2000A 3P+N+E 2bar (80*10)mm/ph |  |  | 1 |  |  |  | 8553.68 |  | 8553.68 | 234.96 | 7753.68 | 800 | 0 | 8553.68
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 6 bar
|  | DSE9470 | Battery charger 24VDC 10A |  |  | 1 | DSE |  |  | 800 |  | 800
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 24VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | #N/A |  | #N/A
[13 empty] | ATS 2500A 4P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | #N/A | 0 | 1 | #N/A | #N/A
12- | ATS 2500A 4P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 6960 | 0 | 1 | 6960 | #N/A
| Enclosure type: | Local |  | Floor Standing |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1976 | 0 | 1 | 1976 | #N/A
| Enclosure Size: | 200*100*120 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 6960 |  | 6960 |  | C.B.B | 8553.68 | 0 | 1 | 8553.68 | #N/A
[13 empty] | TOTAL | #N/A |  |  | #N/A
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95234250 | ATyS 4*2500 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | #N/A |  | #N/A | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 2500A 3P+N+E 2bar (80*10)mm/ph |  |  | 1 |  |  |  | 8553.68 |  | 8553.68 | 234.96 | 7753.68 | 800 | 0 | 8553.68
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 6 bar
|  | DSE9470 | Battery charger 24VDC 10A |  |  | 1 | DSE |  |  | 800 |  | 800
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 24VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | #N/A |  | #N/A
[13 empty] | ATS 3200A 4P Chang .over | COST P.P | DIS % | FACTOR | COST | %
[13 empty] | Socomec | #N/A | 0 | 1 | #N/A | #N/A
13- | ATS 3200A 4P Chang .over |  |  |  | QTY. | 1 | [6 empty] | ENCLOSURE | 6960 | 0 | 1 | 6960 | #N/A
| Enclosure type: | Local |  | Floor Standing |  |  |  | Indoor | S.E (P.P) | other | Total P.P | other | other materials | 1976 | 0 | 1 | 1976 | #N/A
| Enclosure Size: | 200*100*120 |  | (HXWXD)Cm |  | Operation Voltage: |  | 380/220 V | 6960 |  | 6960 |  | C.B.B | 10492.1 | 0 | 1 | 10492.1 | #N/A
[13 empty] | TOTAL | #N/A |  |  | #N/A
| Articles | Reference | Descriptions |  |  | QTY. | Brand | Remarks
| Main | 95234320 | ATyS 4*3200 ELECTRICAL CTRL 208/277VAC |  |  | 1 | Socomec |  |  | #N/A |  | #N/A | Busbar KG | Price | Isolator | Tin | Total
| Cupper Busbar |  | 3200A 3P+N+E 2bar (100*10)mm/ph |  |  | 1 |  |  |  | 10492.1 |  | 10492.1 | 293.7 | 9692.1 | 800 | 0 | 10492.1
| Control | DSE331 | DSE ATS CONTROLLER 12V/24V |  |  | 1 | DSE |  |  | 800 |  | 800 | 6 bar
|  | DSE9470 | Battery charger 24VDC 10A |  |  | 1 | DSE |  |  | 800 |  | 800
|  |  | Relay 230VAC, 11-PIN , 10A |  |  | 1 |  |  |  | 25 |  | 25
|  |  | RELAY BAS 11-PIN |  |  | 1 |  |  |  | 15 |  | 15
|  |  | Relay 24VDC, 14-PIN , 6A |  |  | 3 |  |  |  | 25 |  | 75
|  |  | RELAY BAS 14-PIN |  |  | 3 |  |  |  | 15 |  | 45
| Protection |  | Fuse holder |  |  | 11 |  |  |  | 5 |  | 55
|  |  | Fuse 2A |  |  | 11 |  |  |  | 1 |  | 11
| Accessories |  | WIRING and LABELS |  |  | 1 |  |  |  | 150 |  | 150
[9 empty] | #N/A |  | #N/A