{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Sheet1","مبنى كلية طب embdf"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"مبنى كلية طب embdf","index":1,"n_rows":356,"n_cols":4,"rows_kept":356,"cut":false,"hidden":false,"merged":[[253,1,323,1],[325,1,347,1],[348,1,349,1],[350,1,355,1],[356,1,472,1],[235,1,237,1],[238,1,239,1],[240,1,241,1],[244,1,249,1],[250,1,251,1],[207,1,212,1],[213,1,215,1],[216,1,217,1],[220,1,222,1],[233,1,234,1],[125,1,135,1],[136,1,145,1],[146,1,162,1],[164,1,167,1],[169,1,205,1],[3,0,3,7],[6,1,7,1],[9,1,87,1],[88,1,89,1],[90,1,122,1],[6,3,7,3],[9,3,87,3],[90,3,122,3]]}
[]
[]
[]
[]
["البند","بيان الاعمال ","القيمه ","التجميع"]
[null,"الاعمال الكهربائية"]
[1,"لوحة التوزيع العمومية",1495000,{"$f":"SUM(C7:C8)","v":1873850}]
[2,null,378850]
[]
[3,"لوحة التوزيع الفرعية",56750,{"$f":"SUM(C10:C88)","v":4632185}]
[4,null,140690]
[5,null,179850]
[6,null,128380]
[7,null,149000]
[8,null,158200]
[9,null,162700]
[10,null,14900]
[11,null,145000]
[12,null,450150]
[13,null,567000]
[14,null,27845]
[15,null,31275]
[16,null,46150]
[17,null,39500]
[18,null,35860]
[19,null,61400]
[20,null,22450]
[21,null,31460]
[22,null,30675]
[23,null,39900]
[24,null,77700]
[25,null,22440]
[26,null,31650]
[27,null,54950]
[28,null,48565]
[29,null,38000]
[30,null,59950]
[31,null,32550]
[32,null,32550]
[33,null,23750]
[34,null,34100]
[35,null,38050]
[36,null,34450]
[37,null,72665]
[38,null,25000]
[39,null,37150]
[40,null,34100]
[41,null,32250]
[42,null,42100]
[43,null,36000]
[44,null,43900]
[45,null,25000]
[46,null,42100]
[47,null,35950]
[48,null,36100]
[49,null,39000]
[50,null,34100]
[51,null,27850]
[52,null,39000]
[53,null,31300]
[54,null,53700]
[55,null,34100]
[56,null,25000]
[57,null,42850]
[58,null,33150]
[59,null,33150]
[60,null,34100]
[61,null,25000]
[62,null,22900]
[63,null,21200]
[64,null,54880]
[65,null,53825]
[66,null,40270]
[67,null,58000]
[68,null,62500]
[69,null,37470]
[70,null,39000]
[71,null,39000]
[72,null,40250]
[73,null,21600]
[74,null,22450]
[75,null,23750]
[76,null,21175]
[77,null,27925]
[78,null,19560]
[79,null,21200]
[80,null,21600]
[81,null,21175]
[]
[]
[82,"وحدات اضاءه",100400,{"$f":"SUM(C91:C123)","v":8015510}]
[83,null,318000]
[84,null,578025]
[85,null,100540]
[86,null,391680]
[87,null,298080]
[88,null,512000]
[89,null,61000]
[90,null,274000]
[91,null,176540]
[92,null,242500]
[93,null,73800]
[94,null,39915]
[95,null,224160]
[96,null,181200]
[97,null,970200]
[98,null,252500]
[99,null,257500]
[100,null,76200]
[101,null,42500]
[102,null,319300]
[103,null,15100]
[104,null,53220]
[105,null,75200]
[106,null,56400]
[107,null,188600]
[108,null,108000]
[109,null,54000]
[110,null,156000]
[111,null,502400]
[112,null,240750]
[113,null,928950]
[114,null,146850]
[]
[null,"مفاتيح + بريزه + صندوق ارضي"]
[115,"مفاتيح",11900]
[116,null,1760]
[117,null,3300]
[118,null,21200]
[119,null,72080]
[120,null,22200]
[121,null,112000]
[122,null,62000]
[123,null,8000]
[124,null,2640]
[125,null,880]
[126,"بريزه",56695]
[127,null,4080]
[128,null,51520]
[129,null,1595]
[130,null,4560]
[131,null,24160]
[132,null,760]
[133,null,4785]
[134,null,6960]
[135,null,16160]
[136,"مفاتيح",13500]
[137,null,11500]
[138,null,33750]
[139,null,250]
[140,null,4930]
[141,null,35280]
[142,null,5976]
[143,null,6000]
[144,null,22990]
[145,null,3060]
[146,null,7500]
[147,null,10500]
[148,null,16950]
[149,null,20550]
[150,null,18000]
[151,null,9000]
[152,null,15000]
[153,"صندوق",200235]
[154,"برايز",1470]
[155,null,1700]
[156,null,37500]
[157,null,47600]
[null,"الاجمالي",{"$f":"SUM(C126:C168)","v":1012476}]
[null,"الكابلات"]
[158,null,4950]
[159,null,940380]
[160,null,10500]
[161,null,13000]
[162,null,742920]
[163,null,24000]
[164,null,299000]
[165,null,539850]
[166,null,150000]
[167,null,759200]
[168,null,173400]
[169,null,34960]
[170,null,108295]
[171,null,40420]
[172,null,55000]
[173,null,45100]
[174,null,0]
[175,null,29700]
[176,null,0]
[177,null,0]
[178,null,549000]
[179,null,0]
[180,null,390600]
[181,null,400400]
[182,null,664000]
[183,null,230000]
[184,null,423000]
[185,null,1040400]
[186,null,998075]
[187,null,577500]
[188,null,434000]
[189,null,8550]
[190,null,2500]
[191,null,56550]
[192,null,58425]
[193,null,59800]
[194,"قضبان نحاسية",387900]
[195,"حوامل كابلات",126000]
[196,null,148000]
[197,null,226100]
[198,null,29500]
[199,null,96000]
[200,null,1782000]
[201,"سلم للكابلات",17955]
[202,null,33675]
[203,null,21315]
[204,"حوامل كابلات",576000]
[205,null,502500]
[]
[null,"الانظمة"]
[206,"نظام ارضي صناعي",30000]
[207,null,40000]
[208,null,7431]
[209,"نزام الحماية من الصواعق",161684]
[210,"مخرج للصوتيات",105000]
[211,"مخرج لنظام التليفون والداتا",735000]
[212,"مخرج داتا لكاميرات المراقبة",8400]
[213,"مخرج لانذار الحريق",2000]
[214,"مخرج لتغذية البرايز",1190000]
[215,"مخرج كهربي لتغذية Hair Dryer",104500]
[216,"دائرة فرعية لمخرج انارة بالسقف",375000]
[217,"مخرج مفتاح",250000]
[218,"مواسير فارغة PVC",2000]
[219,"دائرة فرعية لمخرج بريزة",559300]
[220,null,1120000]
[221,"مخرج بريزة",560000]
[222,null,220000]
[223,null,184000]
[224,"مواسير EMT",525000]
[225,null,52500]
[]
[]
[226,"لوحة تحكم",48129]
[]
[227,"وحدة تنظام استدعاء لذوي الاحتياجات الخاصة",10000]
[228,null,8500]
[229,null,10500]
[230,null,2748]
[231,null,25716]
[232,null,8916]
[]
[]
[233,"اعمال الميكانيكا التكييف",100000]
[234,"اعمال تكييف",66920]
[235,null,54697]
[236,null,85000]
[237,null,720000]
[238,null,120000]
[239,null,90000]
[240,null,60000]
[241,null,1407000]
[242,null,58000]
[243,null,220050]
[244,null,89100]
[245,null,85050]
[246,null,5400]
[247,null,21600]
[248,null,7830]
[249,null,25200]
[250,null,549000]
[251,null,14800]
[252,null,146880]
[253,null,136160]
[254,null,10325]
[255,null,88480]
[256,null,2248]
[257,null,994]
[258,null,1300]
[259,null,64152]
[260,null,55510]
[261,null,3600]
[262,null,5250]
[263,null,4000]
[264,null,66000]
[265,null,39505]
[266,null,71060]
[267,null,0]
[268,null,5320]
[269,null,4500]
[270,null,4140]
[271,null,3540]
[272,null,3080]
[273,null,2420]
[274,null,9776]
[275,null,11308]
[276,null,20016]
[277,null,34128]
[278,null,31320]
[279,null,82500]
[280,null,111192]
[281,null,74790]
[282,null,83160]
[283,null,73320]
[284,null,48560]
[285,null,2200]
[286,null,4050]
[287,null,56500]
[288,null,60300]
[289,null,112800]
[290,null,960]
[291,null,1890]
[292,null,3150]
[293,null,4410]
[294,null,6120]
[295,null,8490]
[296,null,6360]
[297,null,11100]
[298,null,13500]
[299,null,0]
[300,null,0]
[301,null,0]
[302,null,0]
[303,null,0]
[304,null,0]
[]
[null,"لوحات التحكم"]
[305,null,224700]
[306,null,87800]
[307,null,44100]
[308,null,15850]
[309,null,44100]
[310,null,29450]
[311,null,20450]
[312,null,84800]
[313,null,90100]
[314,null,89700]
[315,null,44100]
[316,null,33800]
[317,null,116050]
[318,null,15850]
[319,null,33850]
[320,null,83900]
[321,null,42350]
[322,null,47000]
[323,null,47000]
[324,null,111900]
[325,null,14550]
[326,null,28300]
[]
[]
[327,"مغير السرعه",25600]
[328,null,65600]
[329,null,157000]
[330,null,49600]
[331,null,112700]
[332,null,130100]