## Bill Nr.
Bill 2.3
2. V.C.
Bill Nr 2.3 :
Item | Description | POMI Ref | Quantity | Unit | Rate | Amount (SAR) | الساده الافاضل الموضح عباره عن صفحات مقتطعة من جدول يحتوى على عدد كبير من الاقسام المختلفة والجداول مطلوبة بهذا التنسيق وللتوضيح: - الخلايا المظللة بالاصفر عباره عن رقم الصفحة اعلاها يرمز إليه bp وبعد ذلك رقم الصفحة - الخلايا المظللة بالأخضر عباره عن رقم الصفحة أسفلها ويرمز إليه Bill 2.3/ وبعد ذلك رقم الصفحة - المشكلة : عند إضافة صفحة جديدة اضطر الى الترقيم اليدوى مرة أخرى للصفحات هل يوجد معادلة لهذه المشكلة ولكم جزيل الشكر
| ELECTRICAL |  |  |  |  | bp35
| Contractor is responsible for the coordination, | Note
support and liaison with the infrastructure's
contractor who is available on the site to ensure
the complete operation of the building as per
building and infra structure drawings or the latest
available drawings on the site with a complete
installation & feeding required from infra low
voltage
Supply, install, terminate cables, testing and
commissioning of KWH Meter panel complete with
KWH smart meters complete with all accessories
required for installation & feeding required from
main distribution panel as shown on drawings
A | Ref. KWH Meter panel provided ( 1 No.of KWH meter) |  |  | Nr |  | 0
Supply, install, testing and commissioning of
lighting and power panel boards including circuit
breakers, grounding, fixings and all accessories
required for complete installation as shown on
B | Ref. DB-VC-01 |  |  | Nr |  | 0
| Total - Carried To Bill Summary: |  |  |  |  | 0
Bill Nr 2.3 : | [5 empty] | Bill 2.3/35
Bill 2.3
2. V.C.
Bill Nr 2.3 :
Item | Description | POMI Ref | Quantity | Unit | Rate | Amount (SAR)
| ELECTRICAL (CONT'D) |  |  |  |  | bp36
Supply, install, testing and commissioning power
and lighting accessories outlets only including
boxes, conduits, wires, cable and all associated
works as required to suit the locations shown on
A | Outlet for Unswitched fused connection unit , wall |  |  | Nr |  | 0
mounted
B | Outlet for Isolator switch ,fused,20A, 2P, 230V |  |  | Nr |  | 0
,weather proof
C | Outlet for wall mounted switched duplex socket |  |  | Nr |  | 0
outlet 13A, 230V, grounding type
D | Outlet for single phase duplex industrial socket |  |  | Nr |  | 0
outlet 32 A,230V
E | Outlet for single pole ,one gang ,one-way switch |  |  | Nr |  | 0
Supply, install, testing and commissioning power
and lighting accessories including all disconnect
switches, switches, sockets ,faceplate and as
required seal enclosures and all associated works
as required to suit the locations shown on
F | Unswitched fused connection unit ) , wall mounted |  |  | Nr |  | 0
G | Isolator switch ,fused,20A, 2P, 230V ,weather proof |  |  | Nr |  | 0
H | Wall mounted switched duplex socket outlet 13A, |  |  | Nr |  | 0
230V, grounding type
I | Single phase duplex industrial socket outlet 32 A, |  |  | Nr |  | 0
230V
J | Single pole ,one gang ,one-way switch |  |  | Nr |  | 0
| Total - Carried To Bill Summary: |  |  |  |  | 0
Bill Nr 2.3 : | [5 empty] | Bill 2.3/36
Bill 2.3
2. V.C.
Bill Nr 2.3 :
Item | Description | POMI Ref | Quantity | Unit | Rate | Amount (SAR)
| ELECTRICAL (CONT'D) |  |  |  |  | bp37
Supply, install, testing and commissioning of
lighting fixtures outlets only including connection
boxes, fixings , grounding and all necessary
boxes, cables/ wires and conduits as shown on
A | Lighting fixtures outlets |  |  | Nr |  | 0
Supply, install, testing and commissioning lighting
fixtures complete with luminaries or lamps, tubes,
fixings , suspensions ,all mounting accessories,
fittings, tapes, connections and all associated
B | Type, E1 |  |  | Nr |  | 0
C | Type, L4 |  |  | Nr |  | 0
D | Type, XG1 |  |  | Nr |  | 0
E | Type, XF1 |  |  | Nr |  | 0
Supply, install, testing and commissioning of a
grounding system comprising bare copper
conductors to bond the building's distribution
boards and HVAC equipments and low current
systems to the main earthing grid of the building
Including necessary earthwork, buried bar copper
conductors surrounding the building, copper clad
steel rod , grounding electrode & inspection pit,
potential equalization bus bar, joints, triangular
counterpoise grounding arrangement, transient
earth clamp, and all associated works to suit
required grounding resistively as shown on
F | Complete building grounding system network to |  |  | Item |  | 0
suit ground resistivity
| Total - Carried To Bill Summary: |  |  |  |  | 0
Bill Nr 2.3 : | [5 empty] | Bill 2.3/37
Bill 2.3
2. V.C.
Bill Nr 2.3 :
Item | Description | POMI Ref | Quantity | Unit | Rate | Amount (SAR)
| ELECTRICAL (CONT'D) |  |  |  |  | bp38
Tenderer's Adjustment Schedule
| The Tenderer shall detail in the following pages any items which he requires in addition to those in the Bills of Quantities | Note
| Should further pages be required by the Tenderer he shall include these and amend the Summaries to suit the revised pages | Note
| Total - Carried To Collection: |  |  |  |  | 0
Bill Nr 2.3 : | [5 empty] | Bill 2.3/38
Bill 2.3
2. V.C.
Bill Nr 2.3 :
Item | Description |  |  |  |  | Amount (SAR)
| ELECTRICAL (CONT'D) |  |  |  |  | Bill 2.3/39
Collection
| Bill 2.3/35 |  |  |  |  | 0
| Bill 2.3/36 |  |  |  |  | 0
| Bill 2.3/37 |  |  |  |  | 0
| Bill 2.3/38 |  |  |  |  | 0
| Total - Carried To Bill Summary: |  |  |  |  | 0
Bill Nr 2.3 | [5 empty] | Bill 2.3/39