## ورقة1
SHIFT (B) |  |  |  |  | CIPF DAILY DATA SHEET | [5 empty] | DATE : |  | 2013-04-05
#NUM!
[11 empty] | Time : |  | 41369.5448
| TANK LEVEL |  |  |  |  | FIC 101 INLET FLOW |  |  |  |  | FQI-102 INJECTION RATE
| M |  | 687 |  |  | M³/H |  | 2600 | 392600 |  | M³/H |  | 1940 | 292940
INJECTION HEADER (PI-103A) |  |  |  | N.SA HEADER |  |  |  | S.SA HEADER |  |  |  | RA HEADER
PRESS (BAR) |  | 162 |  | FLOW FQI-110 A |  | 48160 | BPD | FLOW FQI-109 A |  | 151476 | BPD | FLOW FQI-111 A |  | 128668 | BPD
|  |  |  | PRESS PI-106 |  | 162 | BAR | PRESS PI-105 |  | 160 | BAR | PRESS PI-107 |  | 161 | BAR
INSTURMENT AIR A |  |  |  | INSTURMENT AIR B |  |  |  | PLANT AIR COMP |  |  |  | HUMIDRYER
AUTO |  |  |  | AUTO |  |  |  | DUTY |  |  |  | DUTY
PORTABLE WATER TANK | [5 empty] | FIRE WATER SYSTEM | [5 empty] | DIESEL D-7 |  | BIOCIDE
LEVEL |  | PUMP A |  | PUMP B |  | LEVEL TANK |  | FIRE PUMPS |  | JOCKEY PUMPS |  | LEVEL |  | 1 | 2
23-D1A | 23-D1B | DUTY |  | N/AV |  | 10.39 | M | A | B | A | B | 0.85 | M | 2.9 | 2.16
0.65 | 0.81 | [6 empty] | AUTO | AUTO | AUTO | DUTY
INJUCTION PUMP G-2A
PUMP FLOW |  | OIL TANK LEVEL |  | OIL PUMP |  | OIL TANK TEMP |  | LUBE OIL |  | OIL FILTER |  | INLET PRESS |  | RECEYCLE
FIC-103 |  |  |  | DISCHARGE TEMP |  |  |  | MANIFOLD PRESS |  | PDI |  |  |  | FV-103
660 | M³/H | OK |  | 105 | F | 125 | F | 62 | PSI | 4.1 | PSI | 0.82 | BAR | CLOSE
INJUCTION PUMP G-2B
PUMP FLOW |  | OIL TANK LEVEL |  | OIL PUMP |  | OIL TANK TEMP |  | LUBE OIL |  | OIL FILTER |  | INLET PRESS |  | RECEYCLE
FIC-104 |  |  |  | DISCHARGE TEMP |  |  |  | MANIFOLD PRESS |  | PDI |  |  |  | FV-104
625 | M³/H | OK |  | 110 | F | 122 | F | 53 | PSI | 2.3 | PSI | 0.82 | BAR | CLOSE
INJUCTION PUMP G-2C
PUMP FLOW |  | OIL TANK LEVEL |  | OIL PUMP |  | OIL TANK TEMP |  | LUBE OIL |  | OIL FILTER |  | INLET PRESS |  | RECEYCLE
FIC-105 |  |  |  | DISCHARGE TEMP |  |  |  | MANIFOLD PRESS |  | PDI |  |  |  | FV-105
662 | M³/H | OK |  | 107 | F | 118 | F | 75 | PSI | 5.7 | PSI | 0.82 | BAR | CLOSE
INJUCTION PUMP G-2D
PUMP FLOW |  | OIL TANK LEVEL |  | OIL PUMP |  | OIL TANK TEMP |  | LUBE OIL |  | OIL FILTER |  | INLET PRESS |  | RECEYCLE
FIC-106 |  |  |  | DISCHARGE TEMP |  |  |  | MANIFOLD PRESS |  | PDI |  |  |  | FV-106
S/D | M³/H | S/D |  | S/D | F | S/D | F | S/D | PSI | S/D | PSI | S/D | PSI | CLOSE
TOTAL PUPMS FLOW |  | 293997 | [10 empty] | 2013-04-05 13:05
OP.2 | [5 empty] | KOC.NO |  |  |  | REMARKS